## Sheet1
STOCK LIST |  |  |  | HAWICK PLANT AUCTIONS
Stock no: | Description | Year | Plant/Serial no: | Hours | Reg
211B | 4 x 50KW Chiller Model WCC50 Mark 6 |  | P/N 6977G, 6980G
6983G, 6974G
218 | various fans 3 sizes
235 | 2 x FPL Fiat Engines. Type F4GE0685D*F650 | 2010 | S/N 0804407 S/N 0814545
237 | Scania DC12 54 electronic engine -1 available for spares | 2005 | Eng No 6512061 |  | Top end engine damage. No 6 Cylinder = Head-Valves-Injector,
Piston and Liner need replaced
244 | 96 x Modine Fuel Coolers |  | Part No 129-529
245 | QSK23 Cylinder Heads x12 |  |  |  | Good condition
246 | 6 x Rypos Diesel Particulate Filters for 320kva and 500kva Generators | 2012 | P/N XCGH003/XCGH009/XCGH011
XCGH017/XCGH017/XCGH006/XCGH007
251 | Sioux Electric Pressure Washer |  |  |  | 415V / 100psi
252 | 80-Series Self Priming Diesel Centrifugal Pump Model 81-172A3-B |  | SN 1205988
3469 | 250 Gallon Bunded Fuel Bowser | 2000
3824 | Helmerverken 1250kva Transformer in 10ft Con | 1994 | P/N 94-4448
S/N 546-513
3851 | Hilsonic IST 3000S Engine Cleaner OUR OWN | 2007 | S/N 21760
4050 | 2000KVA Yanmar Diesel Generator with Leroy Somer Alternator, Skid Mounted | 1991 | Eng No 0097JJJ | 77
Model No 16H-NHL-ETP
4079 | 1650KVA Generator with MTU V12 Engine Marathon Magnamax alternator |  | Plant No. K1701 Eng Serial. 5262001566 | 1016
4132 | 1250KVA Transformer & MDU 78 Distribution Board in 20Ft Container | 1993 | P/N CNT21 S/N 106.10365
4133 | MDU 95 Distribution Board in 20Ft Container |  | P?N CNT23 S/N P0403
4149 | Meiden Gas Turbine Generator - Co Generation 375KVA 660V 60Hz | 2002 | Model GXT375HPBS Eng No 1061
4150 | Meiden Gas Turbine Generator - Co Generation 375KVA 660V 60Hz | 2002 | Model GXT375HPBS Eng No 1059
4157 | 2000/2500kva 50/60Hz Sunbelt oil filled Transformer |  | P/N XF9-60 S/N ST0601A10032-1-30 |  | FAILED TEST
S/N 01V5757 S/N PWA0006
4163 | 2500KVA Sunbelt Transformer Oil Filled |  | S/N 1571190899
4276 | 5000KVA Transformer Oil Filled | ilpump | S/N 843278
4289 | Atlas Copco ZT245 Electric Compressor | 1983 | P/N K3550A
|  |  | S/N ARP167098 | 21885
4290 | Atlas Copco ZT245 Electric Compressor | 1983 | P/N K3550B
4325 | 100KVA Gas Generator with 80RGC6NL |  | GN0420N | 18827 | Good
| Detroit Engine |  | 17835-1-1-0908
4326 | 100KVA Gas Generator with 80RGC6NL |  | GN0421N | 26737 | Good
| Detroit Engine |  | 17835-1-2-0908
4327 | 100KVA Gas Generator with 80RGC6NL |  | GN0427N | 15405 | Good
| Detroit Engine |  | 303179-1-1-1208
4328 | 100KVA Gas Generator with 80RGC6NL |  | GN0423N | 22107 | Good
| Detroit Engine |  | 303179-1-2-1208
4329 | 100KVA Gas Generator with 80RGC6NL |  | GN0418N | 13982 | Good
Detroit Engine
4330 | 80KVA Gas Generator with SENL80FGG4 |  | GN0417N | 18984 | OK
| Detroit Engine |  | 156750-1207
4331 | 100KVA Gas Generator with 80RGC6NL |  | GN0430N | 22263 | Hole in
| Detroit Engine |  | 304463-1-1-0109 |  | Block
4333 | 100KVA Gas Generator with 80RGC6NL |  | GN0429N | 27602 | OK
| Detroit Engine |  | 304463-1-2-0109
4334 | 100KVA Gas Generator with 80RGC6NL |  | GN0428N | 14776 | No AVR
| Detroit Engine |  | 304463-1-4-0109
4335 | 100KVA Gas Generator with 80RGC6NL |  | GN0422N | 23564 | OK
Detroit Engine
4336 | 100KVA Gas Generator with 80RGC6NL |  | GN0424N | 16809 | OK
Detroit Engine
4391 | 2.5 MVA Sunblet Transformer in 20Ft Container | 2002 | P/N XF9-17 S/N 2106811798 | 43215 | Good
4392 | 2.5 MVA Sunblet Transformer in 20Ft Container | 2003 | P/N XF2500-47 S/N 1482-660799 | 43.215 | Good
4463 | Winder Electrical Oil Filled Step Up Transformer 10600/16000KVA | 2007 | T19183/1 |  | Very Good
| (Also 3 = Fans , 4 = Oil Cooling Radiators, 1 = Tank with Mountings |  | Spare parts in container 320117/1
1700Ltrs Oil in IBC all in a 20ft Container)
4469 | 2110KVA Turbine STS-C-A (Backpressure) | 2009 | 10364 | 14000 approx | Good
4473 | 4-Cylinder Detroit Engine and Compressor on Skid |  | 4D-229832 |  | Okay
4514 | 1125KVA Mitsubishi Generator V12 Model S12A 2PTK | 1990 | Eng No 20824 | 7446 | with Alstom Alternator
4534 | Hi Force Hydraulic Pumps Jacks and Pipes |  | Pump Model HE517364L S/N AG 9262 |  | Good
AG 9263 AG 9265
4603 | Reconditioned MAAG Type GB52 Gearbox |  | S/N 50296A |  | Very good condition
4604 | MAAG Type GB52 Gearbox |  | S/N 50296C
4621 | 2000KVA Tryee Oil-Filled Transformer | 1978 | P/N XAXE001 S/N 111041 |  | Rear oil seal leaking
4627 | 6000KVA 3 Phase Emirates Transformer | 2009 | P/N XBHX001 S/N 19010713/01 | ? | OK condition
4628 | Ormazabal Switchgear in 2 x 40ft Containers |  | S/N 9200995 S/N 9200402 |  | 3 banks of 3 units/1 bank of 4 units/1 bank of 5 units
1 bank of 6 units
4631 | 10,000KVA Winder Electrical Transformer | 2014 | Serial. T20763/1 |  | Very good, no oil
4647 | 6.3MVA Charoenchai Transformer with Lucy Switchgear in 40ft container
4648 | 1 x Centrax 3 Mega Watt Gas Turbine, Back start, Volvo Engine | 1981 | Serial No. 3501 | 1546 | Mothballed in 2008 by Centrax
decommissioned at 1500 hours with Rolls Royce jet engine
4650 | Caterpillar Exhaust Gas heaters AWE-600 H38 |  | AWE-600 H38 |  | Very Good Condition. Choice of 5
4651 | Jenbacher Engine Block 1500KVA J620 GS-F11 x 2 | 2011 | 1022236, 1022157, 1022156
4654 | Leroy Somer Alternator x 3 1500RPM, 50HZ, AVR R450, Weight 3455KG | 2013 | LSA 50.2 V40 J6 5/4 |  | Very Good Condition
4657 | Linde H20T 2 tonne Forklift (has videos) Larger Reach machine | 2018 | H2X392J00376 | 20201 | Very good condition
4658 | Linde H20T 2 Tonne Forklift | 2008 | H2X392W03377 | 9068 | Very good condition
4681 | Stamford Engine Test 1850KVA 60HZ |  | M11D142662
4688 | CAT 3516 1825KVA | 1995 | S/N 025Z04872 | 117808
4689 | CAT3516 1825KVA | 1996 | S/N 025Z05435 | 71076
4690 | CAT3516B 2000KVA | 2000 | S/N 08NW00209 / AEB00129 | 65834
4691 | CAT3516 1825KVA | 2004 | S/N OCMD00493 / 4FN02876 | 75039 | RECONDITIONED
4692 | CAT3516B 2000KVA | 2001 | S/N OFDN00678 / 7TN01117 | 34920 | RECONDITIONED
4693 | CAT3516B 2000KVA | 2001 | S/N OFDN00692 / 7TN01129 | 65244
4694 | CAT3516B 2000KVA | 2004 | S/N OFDN01282 / 7TN01378 | 84562
4695 | CAT3516 1825KVA | 2010 | S/N OYAS00205 / G1W00172 | 34181
4696 | Jenbacher 616 GS-NL 2185kW Generator | 2004 | S/N 4245981 | 121419
4697 | 2000KVA B&D Transformer 20,000 Volts, 3 Phase, Frequency 50 HZ | 2014 | S/N 1405508 |  | Good Condition
Weight 5950KG
4698 | 2000KVA B&D Transformer 20,000 Volts, 3 Phase, Frequency 50 HZ | 2014 | S/N 1405418 |  | Good Condition
Weight 5950KG
4699 | 1600KVA Schneider Transformer, 3 Phase, Frequency 50 HZ | 2012 | S/N 92423 |  | Good Condition
Weight 3600KG
4700 | Grundfos Pump HS 300-200-489/452 5/1-F-A-BBVP, 50hz, 250kW, 1480rpm | 2013 | PH-236-001 / 10011-LFJ
4701 | Grundfos Pump HS 300-200-489/452 5/1-F-A-BBVP, 50hz, 250kW, 1480rpm | 2013 | PH-236-004 / 10010-LGJ
4702 | Grundfos Pump HS 300-200-489/452 5/1-F-A-BBVP, 50hz, 250kW, 1480rpm | 2013 | PH-236-003 / 10019-LGJ
4703 | Grundfos Pump HS 300-200-489/452 5/1-F-A-BBVP, 50hz, 250kW, 1480rpm | 2013 | PH-236-002 / 10017-LGJ
4710 | Umbilical Control Equipment | 1995-2005
4714 | Fuel Tank 6 x 3000 ltr
4715 | Fuel Tank 1 x 2000 ltr
4716 | Dorman 1700KVA 3.3kv STANDBY Generator with base frame tank and drop over canopy | 1992 | 163321 0292 001 | 1464
Stamford Alternator, 3 phase, 4 wire, 50hz, 1500rpm 306amp
4717 | Termomeccanica Export Oil Pipeline Centrefugal Pump | 2013 | P-0152 B / 30547.01.02
4718 | Termomeccanica Export Oil Pipeline Centrefugal Pump | 2013
4719 | FMC Subsea Xmas Tree | 2008 | P206796-C / 2002-09-020D |  | never been used. Log book available
4721 | 300 US Gallon/UK 1135.62 Ltr Plastic Water Tank
4722 | Disconnector Motor Mech Units GW4A
4725 | Hyster Forklift H620B, 28 Ton, |  | B8P 1822V
4726 | Mercedes 18 ton truck with senerator engines x2, GEN 1: 24428hrs, GEN 2: 24441hrs | 1999 | VRM T83 YAW / VIN WD89505052K399590
4727 | Siemens Breaker bought 27.11.23 arriving Hawick soon
4728 | Perkins Eagle 290L Engine Reconditioned
4738 | 28 x Used Caterpillar 3516 Fuel Injectors |  | Part Number OR2921
4739 | 4 x Cummins K Series Flywheel Housing
4740 | AVK 5500KVA Alternator for Jenbacher | 2011
4741 | Cummins Exhaust Valve Part x 300 |  | Part Number 3035110 |  | New
4742 | Shipping & Inspection Skif for Tree with a Cameron 18-3/4" Collect Hub
4743 | Cameron production Tree Control Unit | 2008 | Part Number 2224 14-01 Rev 05 |  | Gross Weight 5940 KG
S/N 4501333767-1-1-3
4746 | Coupling 4.5" -13.5 PPF L8013CRVTHT Box X Pin 2M |  | P/N 955472
S/N WFTL1939-7-14
4747 | Protector Sleeve
4748 | FMC Surface Wellhead Gatevalve
4749 | O Ring Moulded HNBR90 |  | 4700143255
4750 | Collar |  | 174659
4751 | ELL Assy Studded/E/620STDD90deg Choice of 2
4752 | Filter Choice of 250 |  | AX120TF/120
4753 | OmniWell Weatherfoed Acquisition Unit 2HMI Display JDE 2422552 |  | P/N 955472 S/N R016111003
4754 | Topside Umbilical Termination Assembly
4755 | ??
4756 | ??
4757 | ??
4758 | ??
4759 | ??
4760 | ??
4762 | Tree Running Tool
4763 | Fastlock Adaptor |  | S/N 11023317-01 R/N 6200044122
Part No 2136160-01
4764 | Fastlock Adaptor 13.5/8" API15000 with Stump |  | S/N 11036089-01 Part No 2126026-01
4765 | Temperature Sensor Wire 5M Long |  | 1247109-100 2055286-01-44
4501587607-01 9536486 T04-08
4766 | Exhaust Valve |  | 105549-000001 EM0131995
4767 | Weatherford Liner Hangers
4768 | Speedloc FMC Test Port 1/2 API LP |  | P1000014677 F F14021378
4775 | Silenced Generator Housing
4789 | Weatherford Elastomers 16" Cement Plug Weight Range 52.50 - 131.71 PPP |  | Made in the Netherlands
4792 | Shell Tube Condenser x 2 | 2021 | S/N 1100400514 & 107471-001
4793 | Pressure Vacuum Valve for Ship Type VOC174 Type VAC248 Configuration Ultimate |  | S/N 107471-002
4794 | Pressure Vacuum Valve for Ship Type VOC174 Type VAC248 Congiguration Ultimate
4795 | Drive Shaft with Motor for Wartsila Thruster |  | No Plates or Dates
4796 | Drive Shaft with Motor for Wartsila Thruster |  | No Plates or Dates
4797 | FMC Technologies Wellhead Test Pump |  | S/N FF-1.5 16-10-301F 16-10-300F
4798 | Cameron Drill-Quip Surface XT FLS-R Gate Valve | 2008 | P/N 2289151-01 S/N 111058854-1
4799 | Cameron Control Unit |  | Part 2197999-42REV02
S/N 4501374500/2/1/1
4800 | Emergency Fire Pump x 8 C125VID2-AUN-SD-08D3-SNB |  | 803-PA-002
4801 | Emergency Fire Pump x 2 C125VIDI-AUN-RD-09D4-SNB |  | 584-PA-001
4802 | Emergency Fire Pump x 18 CGC15OR-V084-AAN-B14JI-CNB |  | 721-PA-002
4803 | Emergency Fire Pump x 8 6718645571T90-SH230V | 2015 | VER4956
4804 | Emergency Fire Pump x 8 813-PA-002
4805 | Emergegency Fire Pump x 3 6402029251TA0 | 2014 | M156857
4806 | Vetco Gray Production Tree | 2013 | M286120-1 |  | Weight 34T
4807 | Baker Hughes Horizontal Production Tree | 2020 | M247920-1 |  | Weight 35.9T
4808 | Baker Hughes Horizontal Production Tree | 2020 | M281490-1 |  | Weight 37.1T
4809 | Brake Resistor - BOX 44 |  | PAAF-993087
4810 | Oil Tank Assembly - BOX 36 |  | PABA-36723
4811 | Various Items - BOX 12
4812 | Nipple G1/4 G1/2 Measuring Coupling Hose DN 4L=500 BOX 4 |  | PAA_-114414 W006-380023 TOO-2014712
4813 | Speed Transmitter BOX 10 |  | PABA-059620
4814 | Various BOX 23
4815 | Various BOX 22
4816 | Various BOX 25
4817 | Locking Ring Assembly BOX 24 |  | PAAI-002012
4818 | Panel Assembly BOX 36 |  | PABA-002417
4819 | Brake Resistor BOX 37
4820 | Brake Resistor BOX 26
4821 | Various BOX 27
4822 | Brake Resistor BOX 41 |  | PAAF-993087
4823 | Control Cabinet BOX 42 |  | PABA-002416
4824 | Various BOX 38
4825 | Thruster Scope BOX 40 |  | FOIN-20-02 600104
4826 | Thruster Scope BOX 39 |  | FOIN-20-02 600104
4827 | Impellers BOX 20 |  | PT8796-GL 013AL
4828 | Thruster Scope BOX 21 |  | FOIN-20 02600104
4829 | ??
4830 | Fixation Plate Hexagon Head Screw M20X60 Plain Washer BOX 30 |  | PAA1010306 M713000586 M71600039
4831 | Valve Block Assembly BOX 31 |  | PAA103705
4832 | Various BOX 32 |  | PAAC01158
4833 | CKH Screw M12X35 Cover Recepticle Dia 230 x Length 35 O Ring BOX 33 |  | PABA134084 W00700730
4834 | O Ring with Vulcanised Joint Seamless O Ring O Ring with joint Vulcanised ID 1050 0+ BOX 34 |  | W007001428 W007001340 W007001396
4835 | O Ring O Ring Vulcanised Joint ID 1050 0+ Dowel Pin Plate BOX 29 |  | W007000356 W007001396 PAAF977265
PA13A048452
4836 | Pump Unit 1300X1020X1234 BOX 51 |  | PABA-036723
4837 | Top Cover Assembly + Indicator T002016146 BOX 35 |  | PAA116463
4838 | Various
4839 | FOIN-20-02600 104 BOX 14
4840 | Various BOX 13
4841 | Various BOX 12
4842 | Various BOX 11
4843 | FOIN-20-02600104 BOX 16
4844 | Water Separator BOX 15 |  | PABA155070
4845 | Roller for Stands BOX 7
4846 | Various BOX 5
4847 | Various BOX 10
4848 | Various BOX 6
4849 | Control Panel
4850 | Steering gear Box BOX 1 |  | PAAF-868085
4851 | Heating Coil BOX 14
4852 | Various BOX 53
4853 | Various
4854 | Alignment Tool BOX 52 |  | PAAF-374285
4855 | ??
4856 | Support Comp Cradle Compressor Casing Screw-Heavy-Hex |  | 86592125
4587 | Support Comp Cradle Compressor Casing Screw-Heavy-Hex |  | 86592121
4858 | Siemens Console - Seal Gas |  | Part No RREO-72848 S/N 86590907
4859 | Siemens Console - Seal Gas |  | Part No RREO-72848 S/N 86590906
4860 | 5300KVA Winding - Transformer BOX 50
4861 | Danfoss Pump | 2021 | 11265808 V210944912
4862 | Compressor Casing Compressor Cradle Heavy Hex Screw |  | RRE070145 RRE070258 RRE083376
4863 | Compressor Casing Compressor Cradle Alignment Block Heavy Hex Screw |  | RRE070145 RRE070258 RRE067025
RRE008854
4864 | Rolls Royce Compressor x 3 |  | ZB1014413 51-AFJ
4865 | Rolls Royce Compressor x 3 |  | RRE-072289 ZB1014396 AFJ
4871 | Tess Flushing Stab Plate x 3 |  | S/N 0040847-002
4872 | Drill Connectors |  | S/N B086-006
4873 | ? |  | S/N 118034329002
4874 | Pro Serv Subsea Control Unit | 2013 | S/N CT118200-009
4875 | ? |  | P/N 2197010-07-27
4876 | Various items
4877 | Test Equipment
4878 | Clamps, Bolts, Nuts, Couplers
4879 | Lifting Attachment |  | S/N 11086458-1
4881 | Simulator Unit Umbilical Cable
4882 | Control Unit
4883 | Cameron Rig Activation Drill |  | 111477249-01
4884 | Hubben Single Ram, Ex Miller |  | 10000011542
4885 | Hydril Double Bop | 2012 | S/N 10000027698122991
4886 | Hydril Bop Double Mid 174 | 2012 | S/N 100000-27699
4887 | Hydril Bop Single | 2012 | S/N 10000027700122992
4888 | Cameron Double Bop Rig Activation | 2009 | S/N 10000017891 111477251-01
4889 | Puma Power 655KVA Generating Set Type R524N11 3 Phase 1500RPM 50HZ 415/420 Volts |  | Engine No 12082/0178/019
Serial No 12314/1
4890 | Caterpillar 588KVA Generating Set Model SRCR 1500RPM 50HZ |  | Serial No 450TH3288
4891 | Puma Power 833KVA Generating Set Type R720N 3 Phase 1500RPM 50HZ |  | Engine No 12132/0682/006
4892 | Cameron Lifting Cap |  | P/N 223026303 S/N 11100385301
S/N 17035
4894 | Technip FMC Tree & Associated Equipment
4895 | Technip FMC Tree & Associated Equipment
4896 | 500KVA Transformer Wilson Power Solutions | 2017 | Serial No 36036895
4897 | 2000KVA Transformer Wilson Power Solutions | 2017 | Serial No 50241876895
4898 | 1500KVA Transformer Wilson Power Solutions | 2017 | Serial No 36026895
4899 | 4000KVA Transformer Wilson Power Solutions | 2017 | Serial No 50111256895
5001 | Schneider Electric Blakley Control Panel |  | Serial No W124922
5002 | Schneider Electric Blakely Control Panel |  | Serial No W086254-01
5003 | Tubing Hanger Assy-ESP 18 3/4 OD EHXT |  | P2000084954 2021-06-60D
5004 | Tubing Hanger Assy-ESP 18 3/4 OD EHXT |  | P2000084954 2020-04-180D
5005 | Korndorfer 5200KVA Transformer, Dry Type, High Voltage, No 107185, 11KV | 2014 | Serial Number 107185
5009 | ?? |  | Plant No 4-400181-02
5010 | Assy Pipes |  | 2206342-04 110345981-1
5011 | Assy Pipes & Cooper Cameron Box Wire Line Tree Isolation Plug |  | VL032
5012 | Schiehallion Pipe |  | 1576759-10 2206342-07 110628081-01
5013 | Cameron Pipe |  | 1502057-10 2230264-01 111086439-01
5014 | Pipe
5015 | Pipes x 8
5018 | Leyland Daf vehicle with Telegraph Pole Drill | 2002 | Reg BX02 HVY Chassis XLRAE55BFOL234401
5020 | Taqa Tree Cap HT-SG-ASSEMBLY 18.750-5KSI-MWP XMT-12 C/W Pre Installed |  | P/N A111572-7869 S/N M-293190-1
| P/N A111623-6B69 Plug Crown Upper 5 Nominal |  | S/N M-293170
5021 | Taqa Tree Cap HT-SG-ASSEMBLY 18.750-5KSI-MWP XMT-11 C/W Pre Installed |  | P/N A111572-7869 S/N M-289260
| P/N A111623-6B64 Plug Crown Upper 5 Nominal |  | S/N M289280-1
5022 | Taqa Tree Cap HT-SG A111572-7 B69 REV B M273770-1 150LBS Max Load |  | P/N A111623-6b69 REV B
A301323-6 REV B P327467-6-1
5023 | Taqa Tree Cap HT-SG-ASSEMBLY 18750-5KSI-MWP XMT07 C/W Pre Installed |  | P/N A111522-7B69 P/N A111623-6B69
| P/N A111572-7B69 Plug Crown Upper 5 Nominal |  | S/N M234380 S/N M235570-1
5026 | Copeland Compressor Moded ZR125KC |  | P/N 07KA9290D
5027 | Trane Compressor |  | S/N 133620981A
5028 | Heat Exchangers 3 Phase 200V 50/60Hz 3.7kW Output 17.5A Consumption
5029 | Caterpillar G3516 Spare Parts
4 Drum Oil Containment Unit x5
5031 | KTA50 Starter Motor |  | S/N 43080125
5032 | MTU V16 4000 Series Engine Spares
5033 | Distribution Panel x21
Building 1 | Spares -
KTA50G3 Spare parts
QSK45 Spare parts
KTA50 Donor Engines for Spare parts
QSK45 Engines for Spare parts
Building 2 | Rewound alternators
Cummins Spare parts
KTA50 Spare parts
New QSK con rods
New Cummins control panels and electrical panels
Building 3 | Electricals with new and 2nd hand control panels